## Slide 1: AMC Series Media Converter
Introduction

## Slide 2: AMC Series
AMC-1310
AMC-2120
AMC-2320
AMC-5810
AMC-5910

## Slide 3: AMC-1310
Features
RS-232 to RS-422/485 converter
Speed up to 921.6Kbps
Auto baud rate and direction control
3KV isolation and 15KV ESD protection
Wide range power input (12V to 48Vdc)
Wide operating temperature (-40 to +70°C)
Configuration by DIP switch
Terminator and biasing resisters setting by DIPs
Industrial RS-232 to RS-422/485 Converter

## Slide 4: AMC-2120
Features
Compliant USB 1.1/2.0 for up to 480 Mbps speed
All RS-232 speed up to 921.6 Kbps
15KV ESD protection for all RS-232 signals
2.5KV isolation between USB and RS-232 port
Low power consumption with USB bus powered
USB Drivers provided for Windows and Linux OS
Din-Rail mount or wall mount robust housing
Wide operating temperature (-40 to +70°C)
Industrial USB to 2-Port RS-232 Converter

## Slide 5: AMC-2320
Features
Compliant USB 1.1/2.0 for up to 480Mbps speed
2-port RS-422/485 speed up to 921.6 Kbps
Supports terminator and biasing functions
15KV ESD protection for all RS-422/485 signals
2.5KV isolation between USB and RS-422/485 interface
Low power consumption with USB bus powered
USB Drivers provide for Windows and Linux OS
Din-Rail mount or wall mount robust housing
Wide operating temperature (-40 to +70°C)
Industrial USB to 2-Port RS-422/485 Converter

## Slide 6: AMC-5810
Features
Ethernet 10/100Base-TX transmission
RS-232/422/485 speed up to 230.4 Kbps
Supports terminator and biasing functions
15KV ESD protection for all RS-232/422/485 signals
2.5KV isolation between device and all serial interface
Supports terminator and biasing resistor via DIP switch
3-CH DI and 3-CH DO
Din-Rail mount or wall mount robust housing
Wide operating temperature (0 to +70°C)
Industrial Ethernet to Serial Converter

## Slide 7: AMC-5810 Application
Industrial Ethernet to Serial Converter
Access Control

## Slide 8: AMC-5810 Application
Industrial Ethernet to Serial Converter
Factory Automation

## Slide 9: AMC-5910
Features
Industrial serial to fiber media converter
Speedup to 115.2 Kbps
Peer to Peer or SFR for serial fiber ring communication
Auto baud rate and direction control
Multi-mode 5 km, Single mode 60Km
15KV ESD protection
Wide range power input from 12V to 48Vdc
Wide operating temperature (-40 to +70°C)
Terminator and biasing resisters by DIP switch
1X9 Standard ST/SC Fiber Transceiver
Industrial Serial RS-232/422/485 to Fiber Converter

## Slide 10: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
Fiber Transceiver
1310nm, Multi mode, 5km
1X9 Standard ST Fiber Transceiver
1310nm, Multi mode, 5km
1X9 Standard SC Fiber Transceiver

## Slide 11: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
Fiber Connecter type
SC Type Connecter
ST Type Connecter

## Slide 12: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
Fiber Connecter type
SC Type Connecter
ST Type Connecter

## Slide 13: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
ST Fiber Optic Duplex Patch Cord - 3 Meter Multi Mode
62.5/125um
ST Fiber Optic Duplex Patch Cord - 3 Meter Single Mode
9/125um

## Slide 14: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
SC Fiber Optic Duplex Patch Cord - 3 Meter Multi Mode
62.5/125um
SC Fiber Optic Duplex Patch Cord - 3 Meter Single Mode
9/125um

## Slide 15: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
Fiber Media Converter using RS-232 or RS-422 or RS-485 in PTP mode

## Slide 16: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
Fiber Media Converter using RS-232 in PTP mode

## Slide 17: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
Fiber Media Converter using RS-485 2-wire in PTP mode

## Slide 18: AMC-5910
Industrial Serial RS-232/422/485 to Fiber Converter
Fiber Media Converter using RS-485 4-wire in PTP mode

## Slide 19: AMC-5910 Application
Industrial Serial RS-232/422/485 to Fiber Converter
Fiber Media Converter using RS-232 or RS-422 or RS-485 in SFR mode

## Slide 20: AMC-5910 Application
Industrial Serial RS-232/422/485 to Fiber Converter
Remote monitor and PLC control

## Slide 21: AMC-5910 Application
Industrial Serial RS-232/422/485 to Fiber Converter
Connection mode example

## Slide 22: AMC-5910 Application
Industrial Serial RS-232/422/485 to Fiber Converter
Application ex. Remote monitoring of power measuring

## Slide 23: AMC-5910 Application
Industrial Serial RS-232/422/485 to Fiber Converter
Application ex. PLC Remote Control